## Sheet1
| Tag | Manufacturer | Model | Description | Location | Serves | NumberOfPort | SizeInlet | Cfm | CfmMin | CfmMax | OSA | ESP_inchwg | ESP_inchwc | GPM | MBH | HSPF_cop | TONS | SEER_eer | FanHP | SPInlet | KW | Type | EfficiencyWinter_eff | EfficiencySummer_eff | VoltPhase | Aux_kw | MCA | MOCP | FLA | LWA | LWA_sns | Weight_lbs | Weight | ISO | IsolationType
VAV
WATER SOURCE HEAT PUMP
VRF BRANCH CONTROLLER (BC)
DAMPER
ENERGY RECOVERY VENTILATORS (ERV)
Note on AA1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: VoltPhase mean either Volt or Phase will be entered because engineer are retards

## NhanVersion
| VAV | WATER SOURCE HEAT PUMP | VRF BRANCH CONTROLLER (BC) | DAMPER | ENERGY RECOVERY VENTILATORS | FAN | VENTING | OHP - HEAT PUMP UNITS | MINISPLIT HEATPUMPS | IHP - FAN COIL UNITS | GAS FURNACE | GASRTU - GAS FIRED ROOFTOP UNIT | HPRTU - HEATPUMP ROOFTOP UNIT | GRD - GRILLES, REGISTERS & DEFFUSERS | HEATER - ELECTRIC DUCT HEATERS | ISOLATION | LOUVERS/HOODS | VFD - VARIABLE FREQUENCY DRIVE
Tag
Manufacturer
Model
OutdoorUnitModel
IndoorUnitModel
Description
Location
HeatPumpLocation
FanCoilLocation
Mounting
Service
Serves
IndoorUnitTag
OutdoorUnitTag
NumberOfPort
Size_WidthAndLength_inch
SizeInlet
Drive
Damper
Cfm
CfmMin
CfmMax
DeltaT
Steps
OSA
MaxIntake_fpm
SP
SP_inchwc
SP_inchwg
ESP_inchwg
ESP_inchwc
GPM
AFUE
NumberOfStages
InputMBH
OutputMBH
MBH
HSPF_cop
AUX_kw
TONS
MBH
SEER_eer
SEER
HP_watt
FanHP
SPInlet
KW
Type
EfficiencyWinter_eff
EfficiencySummer_eff
VoltPhase
Aux_kw
MCA
MOCP
FLA
RatedAmps
Control
HeatPumpLWA
LWA
LWA_sns
Sone
Weight_lbs
Weight
HeatPumpWeight_lbs
ISO
IsolationType
IsolatedEquipment
DeflectionPerInch
LbsPerIsolator
FtOfSoundLinerNeeded
Quantity
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Residental Venting Fans (Furnished and Installed By Others)
Note on I1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Outdoor Condensing/Heat Pump Units
Note on K1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Fan Coil Units
Note on S2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Also called as MARK in equipment schedule
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: also called Model HP
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: also called Model FC
Note on A15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: also called outdoor unit mark

## COLOR CODE
GOOD
BAD
ELECTRICAL
COOLING
HEATING